ALC Health & Safety Inspection

Action List

NZ Army Leadership Centre | Army Command School

Date  August 2026

# PHYSICAL ACTIONS

☐	C61 Q-Store: Secure all unstable metal shelving/racking. Confirm rack load limits are displayed, heavy items are stored low, and high-level items are secured.

☐	C61 Q-Store: Remove loose items from the floor and improve storage so equipment is properly stowed.

☐	C62 Main Store: Fix unsecured cabinets to the wall/structure and remove boxes and ropes from the floor.

☐	C62 Main Store: Signpost the location of the first aid kit.

☐	C62 Adventure Race Area: Provide sufficient storage for equipment.

☐	ALC Offices: Secure all standalone cabinets and improve storage in the office adjacent to the kitchen.

☐	ELDA Wing: Tidy and secure loose cabling to remove trip hazards.

# H&S ASSURANCE

☐	Confirm all ALC staff have completed the required fire lecture within the last 12 months.

☐	Confirm all hazards identified above are captured on the appropriate Hazard Register.

☐	Confirm the current training status of ALC S&H representatives.

☐	Confirm all required ALC workplace/section inspections are current.

# CLOSE-OUT

Once complete, record evidence of rectification and close the corresponding inspection actions.

| Action Owner | Target Completion | Completion Confirmed |
| --- | --- | --- |